SPECIFICATION

Section 07900/079500

Previous 05800

Wabo® FastFloor

# Model(s) “FFR” and “FFS”

Horizontal Expansion Control Systems

PART 1 - GENERAL

1.01	Work Included

A.	The work shall consist of furnishing and installing expansion joints in accordance with the details shown on the plans and the requirements of the specifications.  The joints are proprietary designs utilizing extruded base members and slide plates.

B.	Related Work

- Cast-in-place concrete

- Miscellaneous and ornamental metals

- Flashing and sheet metal

- Interior Finishes

1.02	Submittals

A.	Template Drawings - Submit typical seismic joint cross-section(s) indicating pertinent dimensioning, general construction, component connections, and anchorage methods.

1.03	Product Delivery, Storage and Handling

A.	Deliver products in each manufacturer's original, intact, labeled containers and store under cover in a dry location until installed. Store off the ground, protect from weather and construction activities.

1.04	Acceptable Manufacturer

- All joints shall be as designed and manufactured by Watson Bowman Acme, 95 Pineview Drive, Amherst, New York 14228.

- Alternate manufacturers and their products will be considered, provided they meet the design concept and are produced of materials that are equal to or superior to those called for in the base product specification.

C.	Any proposed alternate systems must be submitted and receive approval 21 days prior to the bid.  All post bid submittals will not be considered.  This submission shall be in accordance with MATERIALS AND SUBSTITUTIONS.

- Any manufacturer wishing to submit for prior approval must provide the following:

1.	A working 6” sample of the proposed system with a letter describing how system is considered superior to the specified system.

2.	A project proposal drawing that illustrates the recommended alternate system installed in the floor construction that is specific to the project.  Typical catalog cut sections will not be considered.

3.	Verifiable list of prior installations showing prior and successful experience with the proposed systems.

4.	Any substitution products not adhering to all specification requirements within, will not be considered.

  - Quality Assurance

A.	Manufacturer: Shall be ISO-9001:2015 certified and shall provide written confirmation that a formal Quality Management System and Quality Processes have been adopted in the areas of, (but not limited to) engineering, manufacturing, quality control and customer service for all processes, products, and their components. Alternate manufacturers will be considered provided they submit written proof that they are ISO 9001:2015 certified prior to project bid date. Manufacturers in the process of obtaining certification will not be considered.

B.     Manufacturer: Shall have a minimum ten (10) years experience specializing in    the design and manufacture of Architectural Expansion Control Systems.

C.    Application: The specified expansion control systems shall be installed by a          factory trained installer certified in the proper installation of the expansion control and fire barrier systems.

PART 2 - PRODUCT

2.01	General

A.	Provide durable expansion control system for horizontal application(s) that is capable of accommodating multi-directional movement without stress to its components. The system shall be surface mounted directly to the concrete floor slab and not require the use of traditional preformed blockouts. System shall easily install and consist of metal profiles that utilize universal aluminum base members designed to accommodate various project conditions and finish floor treatments. The slide plate shall be designed of width and thickness required to satisfy the project movement and loading requirements.  Secure slide plate to base extrusions by utilizing manufacturer’s heavy-duty molded seismic-centering bar. Anchor expansion control system to floor slab utilizing manufacturer’s standard concrete threaded anchor.

Furnish Wabo®FastFloor; Model(s) “FFR” and “FFS” joint cover meeting ADA Guidelines for interior joint locations as manufactured by Watson Bowman Acme and as indicated on drawings. Select Model based on requirements.

2.02	Components and Materials

- Aluminum Base Extrusions - Material to conform to properties of ASTM B221, alloy 6063-T6. Profile shall be designed with an integral continuous rectangular cavity to receive the molded self-centering bar. Overall minimum width and weight of the base extrusions to ensure proper performance shall be:

Model “FFR” - 2 7/8”W, .420 lbs/LF

Model “FFS”	 - 2 ¼” W,	.350 lbs/LF

- Slide Plate - Provide minimum 1/8” thick plate incorporating beveled edges. Material to be aluminum conforming to ASTM B209, alloy 6063-T6. For floor to wall condition provide slide plate with a minimum vertical leg of 1 ½” for attachment to wall construction. Slide plate to be secured to joint assembly utilizing a corrosion resistant molded seismic-centering bar and stainless steel threaded hardware. Preformed metal devices that utilize tension or compression to maintain and secure slide plate will not be allowed.

Overall minimum width and weight of slide plate to ensure proper performance shall be:

Model “FFR”, “FFS” - 2” nominal opening  –  4 ½”W ,   .650 lbs/LF

- 4” nominal opening  –  6 ½”W ,   .950 lbs/LF

- 6” nominal opening  –  9 ½”W ,  1.400lbs/LF

C.    Seismic-Centering Bar  - Provide corrosion resistant molded nylon bar 10 inches in length incorporating an integral “tension rib” to properly secure slide plate to base extrusions. Provide tapered cross member with a ¾” nominal (max.) width measured at it’s center to incorporate an integral ¼-20 brass insert to receive stainless steel threaded hardware. Spacing shall be a maximum of 24” o.c.

During seismic activity design centering bar to permit vertical displacement of metal cover during accelerated inward and outward movement without evidence of fatigue and permanent deformation. Concurrently provide secure connection between plate and underlying system components to maintain proper positioning and contact to adjoining surfaces.

Bar shall exhibit the following physical properties to demonstrate ability to resist corrosion and fatigue.

PHYSICAL PROPERTIES

Material:				Nylon

Color:					Black

Tensile Strength @ break:		ASTM D638   25,500 psi

D.	Moisture Barrier (optional) - Shall be a fabric reinforced tear resistant clear vinyl sheet material. Minimum thickness shall be .026”.

E.   Anchorage - Secure aluminum base member to floor slab utilizing No.12 dia. x 1 ¾” lg. threaded concrete anchor with csk. flathead. Anchors shall be exposed and countersunk into the aluminum base extrusion with a max. spacing of 24” o.c.

F.   Concrete Slab Repair (recommended) - Utilize a single component rapid strength repair mortar.

# G.  Accessories - Provide necessary and related parts, and fasteners required for   complete installation.

H.	Fire Barrier Assembly - Designed for indicated or required dynamic structural movement without material degradation or fatigue. Tested in maximum joint width conditions with a field splice as a component of the expansion joint cover in accordance with ASTM E-119 at full rated period by a nationally recognized testing and inspecting organization. Supply Wabo®FlameGuard or Wabo®ThermoShield Fire Barrier as governed by joint opening and fire rating.

2.03	Fabrication

A.	Extrusions and generic profiles to be shipped in standard 10 ft. lengths and shall be cut to length on jobsite where required. Profiles shall be miter cut in the field to conform to directional changes unless otherwise contracted with expansion joint manufacturer.

B.	Fire Barriers

Ship manufacturer’s standard assembly including fire caulks, sealants (if applicable) and hardware for the required hourly rating. Assemblies shall be miter cut in the field to accommodate changes in direction.

2.04	Finishes (Standard)

A.	Exposed surfaces of Base Extrusion and slide plate shall be supplied in standard mill finish.

B.	Surfaces of aluminum profiles that will be in direct contact with concrete where moisture is present shall receive one coat of manufacturer’s recommended coating.

C.	Finishes (Optional) -

1.	Aluminum - (clear anodize)

Clear anodized finish in accordance with AA-M10 C22  A41  Class I (0.7 - 1.0 thick anodic coating).

- Aluminum  - (color anodize)

ColorChoice with matte or bright finish. Select from manufacturers standard color offering.

PART 3 - EXECUTION

3.01	Installation

- Install all Expansion Control Systems utilizing manufacturer’s concrete slab edge repair material.

- Protect all expansion joint component parts from damage during installation, general construction activities and thereafter until completion of structure.

- Expansion joint systems shall be installed in strict accordance with the manufacturer's typical details and instructions along with the advice of their qualified representative.

- Expansion joint systems shall be set to the proper width for the ambient temperature at the time of installation. This information is indicated in the contract plans.

3.02	Clean and Protect

- Protect system and its components during construction. After work is complete in adjacent areas clean exposed surfaces with a suitable cleaner that will not harm or attack the finish.