SPECIFICATION

Section 07900/079500

Previous 05800

Wabo®HingeMount

# Model(s) “FJH”, “HDH”

Horizontal Seismic Expansion Control Systems

PART 1 - GENERAL

1.01	Work Included

A.	The work shall consist of furnishing and installing expansion joints in accordance with the details shown on the plans and the requirements of the specifications. The joints are proprietary designs utilizing preformed metal components and anchors.

B.	Related Work

- Cast-in-place concrete

- Miscellaneous and ornamental metals

- Flashing and sheet metal

1.02	Submittals

A.	Template Drawings - Submit typical expansion joint cross-section(s) indicating pertinent dimensioning, general construction, component connections, and anchorage methods.

1.03	Product Delivery, Storage and Handling

A.	Deliver products in each manufacturer's original, intact, labeled containers and store under cover in a dry location until installed. Store off the ground, protect from weather and construction activities.

1.04	Acceptable Manufacturer

- All joints shall be as designed and manufactured by Watson Bowman Acme Corp., 95 Pineview Drive, Amherst, New York 14228.

B.	Alternate manufacturers and their products will be considered, provided they meet the design concept and are produced of materials that are equal to or superior to those called for in the base product specification.

C.	Any proposed alternate systems must be submitted and receive approval 21 days prior to the bid. All post bid submittals will not be considered. This submission shall be in accordance with MATERIALS AND SUBSTITUTIONS.

- Any manufacturer wishing to submit for prior approval must provide the following:

1.	A working 6” sample of the proposed system with a letter describing how system is considered superior to the specified system.

2.	A project proposal drawing that illustrates the recommended alternate system installed in the floor construction that is specific to the project.  Typical catalog cut sections will not be considered.

3.	Verifiable list of prior installations showing prior and successful experience with the proposed systems.

4.	Any substitution products not adhering to all specification requirements within, will not be considered.

  - Quality Assurance

A.	Manufacturer: Shall be ISO-9001:2015 certified and shall provide written confirmation that a formal Quality Management System and Quality Processes have been adopted in the areas of, (but not limited to) engineering, manufacturing, quality control and customer service for all processes, products, and their components. Alternate manufacturers will be considered provided they submit written proof that they are ISO 9001:2015 certified prior to project bid date. Manufacturers in the process of obtaining certification will not be considered.

B.    Manufacturer: Shall have a minimum ten (10) years experience specializing in the design and manufacture of Architectural Expansion Control Systems.

PART 2 - PRODUCT

2.01	General

- Provide horizontal expansion control system that accommodates two directional thermal movement with capability of accepting finish floor treatments ranging from 1/8 inch to 3/8 inch in thickness. Profiles shall incorporate an integral hinge feature to accommodate vertical movement or uneven slab conditions. For standard installation provide profile exhibiting a raised edge feature for installation of finish floor materials. Minimum exposed width of edge shall be 1 1/2 inches. For heavy-duty applications provide system that will accommodate loading as indicated in Table “A”. Profiles of heavy-duty system shall be without raised edge feature.

For uneven slab applications and projects requiring two directional movement furnish Wabo®HingeMount, Model “FJH” (standard application) or Model “HDH” (heavy-duty application) as manufactured by Watson Bowman Acme Corp. and as indicated on drawings.

Table A  (max. allowable loads at nominal installed opening)

| Nominal Opening /Model 2” / HDH – 200 3” / HDH –300 6” / HDH – 600 | Max. Point Load 550 lbs 350 lbs 400 lbs | Max.Load Distributed 300 psi 150 psi 60 psi |  |
| --- | --- | --- | --- |

  - Components and Materials

- Aluminum Extrusions – Material to conform to properties of ASTM B221; alloy 6005-T5 or 6063-T6.

- Moisture Protection (if required) – Provide Wabo®InverSeal sized to accommodate opening width and movement.

- Anchorage:

1) Model “FJH” - Provide ¼” diameter x 2” lg. (min.) csk. flathead concrete sleeve anchor to secure system to floor slab. Spacing shall be 18” o.c.

2) Model “HDH” – Provide 3/8” diameter x 2” lg. (min.) csk. flathead concrete sleeve anchor to secure system to floor slab. Spacing shall be 18” o.c.

3) Corner Condition Wall Mount Profile – Anchor (1/4” dia.) to be supplied by installing contractor. Anchor type to be determined by wall construction.

D. Fire Barrier Assembly - Designed to provide the required fire endurance rating, minimize passage of smoke and accommodate dynamic movement without stress or degradation to its components. Test system in maximum joint width incorporating a field splice. Supply Wabo®FlameGuard or Wabo®ThermoShield Fire Barrier System as governed by joint opening, test requirements and fire rating.

E. Concrete Slab Repair (recommended) - Utilize manufacturer’s single component rapid strength repair mortar.

2.03		Fabrication

- Extrusions to be shipped in standard 10 ft. lengths and shall be cut to length on jobsite where required. Profiles shall be miter cut in the field to conform to directional changes unless otherwise contracted with expansion joint manufacturer.

- Anchor holes for corner condition wall mount profile shall be countersunk and field drilled by installing contractor at 18” o.c.

C.	Fire Barriers - Ship manufacturer’s standard assembly for the required hourly rating. Fire barrier shall be miter cut in the field to accommodate changes in direction.

2.04	Finishes

A.	All Profiles

- Standard - Aluminum extrusions shall be supplied in mill finish.

PART 3 - EXECUTION

3.01	Installation

A.    Verify that project conditions are suitable for proper installation of system.

B.	Protect all expansion joint component parts from damage during installation and placement of finish floor materials and thereafter until completion of structure.

- Expansion joint systems shall be installed in strict accordance with the manufacturer's typical details and instructions along with the advice of their qualified representative.

- Anchor holes for corner condition wall mount profile shall be countersunk and field drilled by installing contractor at 18” o.c.

3.02	Clean and Inspect

A.	Upon completing installation the contractor shall clean all exposed metal surfaces with a suitable cleaner that will not harm or attack the finish.  Contact manufacturer should questions arise regarding suitability of any cleaner type prior to its use.