SPECIFICATION

Section 07900

Wabo® SeismicSpan II

# Models “APS”, “APX”

Seismic Expansion Control System

PART 1 - GENERAL

1.01	Work Included

A.	The work shall consist of furnishing and installing expansion joints in accordance with the details shown on the plans and the requirements of the specifications.  The joints are proprietary designs utilizing extruded elastomeric seals, base members and support plates.

B.	Related Work

- Cast-in-place concrete

- Miscellaneous and ornamental metals

- Flashing and sheet metal

- Sealants and caulking

1.02	Submittals

A.	Template Drawings - Submit typical seismic joint cross-section(s) indicating pertinent dimensioning, general construction, component connections, and anchorage methods.

1.03	Product Delivery, Storage and Handling

A.	Deliver products in manufacturer's original, intact, labeled containers and store under cover in a dry location until installed. Store off the ground, protect from weather and construction activities.

1.04	Acceptable Manufacturer

- All joints shall be as designed and manufactured by Watson Bowman Acme, 95 Pineview Drive, Amherst, New York  14228.

B.	Alternate manufacturers and their products will be considered, provided they meet the design concept and are produced of materials that are equal to or superior to those called for in the base product specification.

C.	Any proposed alternate systems must be submitted and receive approval 21 days prior to the bid.  All post bid submittals will not be considered.  This submission shall be in accordance with MATERIALS AND SUBSTITUTIONS.

Any manufacturer wishing to submit for prior approval must provide the following:

1.	A working 6” sample of the proposed system with a letter describing how system is considered superior to the specified system.

2.	A project proposal drawing that illustrates the recommended alternate system installed in the concrete deck that is specific to the project. Typical catalog cut sections will not be considered.

3.	Verifiable list of prior installations showing successful experience with the proposed systems.

4.	Any alternate products not adhering to all specification requirements within, will not be considered.

  - Quality Assurance

A.	Warranty: The SeismicSpan II expansion control system shall be warranted for a period of 3 years when installed by the manufacturer’s Factory Trained Applicator and specified under the review and technical guidance of Watson Bowman Acme. Installation shall be in strict accordance with manufacturer’s technical specifications, details, installation instructions and general procedures in effect for normal intended usage and suitable applications under specified design movements and loading conditions.

- Manufacturer: Shall have a minimum ten (10) years experience specializing in the design and manufacture of Parking Expansion Control Systems.

- Products: Expansion Control Systems must be installed with manufacturer’s blockout repair and infill material(s).

- Application: The specified expansion control systems shall be installed by a Factory Trained Applicator trained in the proper installation of the specified expansion control system, gutter system, elastomeric concrete blockout infill and fire barrier system where applicable.

E.    Maintenance:  Upon request, the manufacturer shall provide the owner-operator a preventive maintenance guideline for Expansion Control Systems

PART 2 - PRODUCT

2.01	General

A.	Provide seismic control system incorporating elastomeric concrete headers capable of accommodating light duty slow speed (<10 mph) vehicular traffic and multi-directional seismic movement without stress to its components. Throughout normal service, the system shall resist the passage of moisture through the joint opening, by utilizing manufacturer’s standard fabric re-inforced neoprene sheet good, that is mechanically anchored into the bottom of the blockout.  The traffic bearing surface of the system shall consist of a Flat and or Curved cover plate with beveled edges designed of a width and thickness to satisfy projects movement and loading requirements.

Furnish, Wabo®SeismicSpan II Expansion Control System, Model “APS” or “APX” for deck and ramp areas designed for vehicular traffic as manufactured by Watson Bowman Acme and as indicated on drawings.

2.02	Components and Materials

A.	Aluminum Extrusions - Material to conform to properties of ASTM B221, alloy 6005-T6 or 6063-T5.

B.	Aluminum Shapes - Material to conform to ASTM B209, alloy 6061-T6 or 5005-H34.

C.	Cover Plate – Shall be fabricated with Aluminum that conforms to ASTM B209, alloy 6061-T6. Slide plate to be secured to joint assembly utilizing a heavy duty spring loaded self-centering bar that freely rotates in all directions. Preformed metal devices that utilize tension or compression to maintain and secure slide plate will not be allowed. Cover plate shall have beveled edges.

D.	Aluminum Flange Extension (Model “APX”) - Material shall be 3/16” minimum thickness conforming to ASTM B209, Alloy 5052-H32. Field attach to base member utilizing 1/4” diameter csk flathead machine screws spaced at 12” o.c. (max).

E.	Seismic-Centering Bar - Shall exhibit circular sphered ends that lock and slide inside the corresponding aluminum extrusion cavity to allow freedom of movement and flexure in all directions including vertical displacement.  Bar shall be manufactured incorporating corrosion resistant Aluminum components, Stainless Steel Spring along with Aluminum sphered ends and 1 1/2” wide cross member for standard applications. Spacing shall be a maximum of 18”O.C.

During seismic activity design centering bar to permit vertical displacement of metal cover during accelerated inward and outward movement without evidence of fatigue and permanent deformation. Concurrently provide secure connection between plate and underlying system components to maintain proper positioning and contact to adjoining surfaces.

- Moisture Barrier - Provide 0.062” thick single ply fabric reinforced Neoprene  sheet good in accordance with the following properties.

Fabric Type:			4 ounce polyester cloth

Temperature Range: 	-30F to +200F

Hardness Shore A		70 +/-5

Tensile, PSI			1000

Elongation, %		250

Tear, Die C, PPI		150

Width of profile shall be governed by joint type and movement requirements

- Anchorage - Provide minimum 3/8” diameter concrete expansion anchor at maximum 18” o.c. spacing to secure aluminum base member to concrete slab.

- Blockout Infill – Utilize Wabo®Crete Parking Series elastomeric concrete.

- Elastomeric concrete:   (Wabo®Crete Parking Series)

Utilize Material shall be an ambient cure, 100% solids, two component polyurethane with pregraded aggregate mix exhibiting the physical properties listed in the tables below.  When properly mixed and poured, the elastomeric concrete cures rapidly, flows and fills any voids, spalls or irregularities forming a monolithic unit.

Base Color: Gray

1.  Elastomeric cured binder and aggregate shall meet the following physical properties:

PHYSICAL PROPERTIES      ASTM METHOD       REQUIREMENTS          TEST RESULTS

Compressive Strength             D695 Mod                    2200                             2723 psi

Resilience at 5% deflection      D695                             90 (min.)                         96.7%

Adhesion to concrete:              C190

Dry Bond                                                  400                              451.3 psi

Wet Bond                                                  250                             353.9 psi

Impact Resistance                  Steel ball drop (.375” th. Disc / dry steel plate)

At  -20 deg F(-29C)                                         no cracks at 5 ft                7.0 ft-lbs

At   32 deg F (0C)                                            no cracks at 5 ft              10.0 ft-lbs

At 158 deg F (70C)                                          no cracks at 5 ft              10.0 ft-lbs

J.	Bonding Agent - Provide manufacturer’s two component, 100 percent solids  bonding agent and apply to the sides and base of the preformed concrete blockouts prior to placement of Wabo®Crete elastomeric concrete header. Utilize on all exterior applications. For interior applications utilize where moisture is present in the concrete. Store, mix and apply in accordance with manufacture’s system data sheet.

Liquid components shall be identified by the following information:

Part A - Resin; Color:  Clear

Part B - Activator; Color:  Tan

K.     Accessories - Provide necessary sealants and assembly hardware required for complete installation.

2.03	Fabrication

A.	Aluminum extrusions and generic profiles to be shipped in standard 10 ft. lengths and shall be cut to length on jobsite where required. All profiles shall be miter cut in the field to conform to directional changes unless otherwise contracted with expansion joint manufacturer.

B.	Fabric Re-inforced neoprene sheet good moisture barrier / gutter shall be shipped in the longest practical continuous length in manufacturer’s standard shipping carton.

C.  Fire Barriers (where applicable) - Ship manufacturer’s standard assembly including fire caulks, sealants (if applicable) and hardware for the required hourly rating. Assemblies shall be miter cut in the field to accommodate changes in direction.

D. Elastomeric Concrete Blockout Infill - Activator packaged in one-half gallon containers (Part A), resin packaged in gallon containers (Part B), 60 pound containers of aggregate (Part C) and MasterSeal 940 (50 lb bags) shipped on wooden pallets, shrink wrapped.

2.04	Finishes

A.	The cover plate’s exposed surface shall receive a 60 grit brushed finish or Non-slip grooves. All other aluminum extrusions and shapes shall be supplied in standard mill finish.

- Surfaces of aluminum extrusions that will be in direct contact with concrete where moisture is present shall receive one coat of manufacturer’s recommended coating.

C.    Elastomeric Concrete Blockout Infill :

-  Elastomeric Concrete base infill material shall be supplied in standard color: Gray.

- Elastomeric Concrete base infill material after field application of MasterSeal 940 broadcast granules:  Gray-textured.

PART 3 – EXECUTION

3.01	Installation

A.	Protect all expansion joint component parts from damage during installation, placing of concrete and thereafter until completion of structure.

B.	Expansion joint systems shall be installed in strict accordance with the manufacturer's typical details and instructions along with the advice of their qualified representative.

C.    Expansion joint systems shall be set to the proper width for the ambient temperature at the time of installation. This information is indicated in the contract plans.

D.   Install all Expansion Control Systems utilizing engineer approved blockout repair material(s).

- Expansion joint surface areas two feet on each side of joint gap shall be finish graded perpendicular to joint gap creating flush slab-to-slab transition. Elevations on each side shall be identical.

3.02	Clean and Protect

A.	Protect system and its components during construction. After work is complete, clean exposed surfaces with a suitable cleaner that will not harm or attack the finish.