SPECIFICATION

Section 07900/079500

Previous 05800

Wabo®VIP

# Model VIP

Horizontal Expansion Control System

PART 1 - GENERAL

1.01	Work Included

A.	The work shall consist of furnishing and installing expansion joints in accordance with the details shown on the plans and the requirements of the specifications.  The joints are proprietary designs utilizing extruded profiles, elastomeric seals and preformed shapes.

B.	Related Work

- Cast-in-place concrete

- Miscellaneous and ornamental metals

- Flashing and sheet metal

- Sealants and caulking

1.02	Submittals

A.	Template Drawings - Submit typical expansion joint cross-section(s) indicating pertinent dimensioning, general construction, component connections, and anchorage methods.

1.03	Product Delivery, Storage and Handling

A.	Deliver products in each manufacturer's original, intact, labeled containers and store under cover in a dry location until installed. Store off the ground, protect from weather and construction activities.

1.04	Acceptable Manufacturer

- All joints shall be as designed and manufactured by Watson Bowman Acme Corp., 95 Pineview Drive, Amherst, New York 14228.

B.	Alternate manufacturers and their products will be considered, provided they meet the design concept and are produced of materials that are equal to or superior to those called for in the base product specification.

C.	Any proposed alternate systems must be submitted and receive approval 21 days prior to the bid.  All post bid submittals will not be considered.  This submission shall be in accordance with MATERIALS AND SUBSTITUTIONS.

- Any manufacturer wishing to submit for prior approval must provide the following:

1.	A working 6” sample of the proposed system with a letter describing how system is considered superior to the specified system.

2.	A project proposal drawing that illustrates the recommended alternate system installed in the floor construction that is specific to the project.  Typical catalog cut sections will not be considered.

3.	Verifiable list of prior installations showing prior and successful experience with the proposed systems.

4.	Any substitution products not adhering to all specification requirements within, will not be considered.

  - Quality Assurance

A.	Manufacturer: Shall be ISO-9001:2008, RC-14001:2008 certified and shall provide written confirmation that a formal Quality Management System and Quality Processes have been adopted in the areas of, (but not limited to) engineering, manufacturing, quality control and customer service for all processes, products and their components. Alternate manufacturers will be considered provided they submit written proof that they are ISO 9001:2008, RC-14001:2008 certified prior to project bid date. Manufacturers in the process of obtaining certification will not be considered.

B.    Warranty: The Interior Floor Joint system’s performance shall be warranted when installed by manufacturer’s factory trained installer. Installation shall be in strict accordance with manufacturer’s technical specifications, details, installation instructions and general procedures in effect for normal intended usage and suitable applications under specified design movements and loading conditions.

C.    Manufacturer: Shall have a minimum ten (10) years experience specializing in the

design and manufacture of Architectural Expansion Control Systems.

- Application: The specified expansion control systems shall be installed by a factory trained installer certified in the proper installation of the expansion control and fire barrier systems.

- Maintenance: The manufacturer shall provide the owner-operator a preventive maintenance guideline for Expansion Control Systems.

PART 2 - PRODUCT

2.01	General

A.	Provide expansion control system incorporating multiple elastomeric seals each exhibiting a minimum movement capability of 3/8 inch. Accommodate variable design movements by incorporating additional seals as required mechanically locked and supported by aluminum extruded profiles. Provide non-slip flat walking surface flush with adjacent floor finishes by alternating the seals and aluminum profiles in a modular pattern supported by pre-engineered bars of selected size, shape and spacing. Equidistant spacing between all aluminum profiles shall be maintained throughout the full range of movement. Systems manufactured utilizing generic shapes and pourable sealants or preformed sponges will not be permitted.

B.	Furnish Wabo®VIP Expansion Control System, Model “VIP” for interior floors as manufactured by Watson Bowman Acme Corp. and as indicated on drawings.

2.02	Components and Materials

A.	Elastomeric Seal - Provide co-extruded seal profile utilizing santoprene or manufacturer’s alternate material exhibiting a shore A hardness of 64 +/-5 between the seal lugs. Seal shall mechanically lock into corresponding aluminum profiles using no adhesives for permanent installation. Individual seal profiles shall provide 3/8 inch total movement.

B.	Aluminum Extrusions - Material to conform to properties of ASTM B221 alloy  6061-T6 or 6063-T5.

C.	Aluminum Shapes - Material to conform to properties of ASTM B209, alloy 5005-H34.

D.	Moisture Barrier (optional) - Shall be a fabric reinforced tear resistant, clear vinyl sheet material. Minimum thickness shall be .026”.

E.	Anchors - Provide 3/8” diameter by 3” lg. Zinc plated “Hilti” concrete expansion anchor with nut and washer. Maximum spacing shall be 18” o.c.

F.     Blockout Repair - Utilize a single component rapid strength repair mortar.

G.  Blockout Infill - Utilize a non-catalyzed, non-shrink grout containing mineral aggregate.

H.	Accessories - Provide necessary and related parts and butt splice clips required for complete installation.

I.	Fire Barrier Assembly - Designed to provide the required fire endurance rating, minimize passage of smoke and accommodate dynamic movement without stress or degradation to its components. Test system in maximum joint width incorporating a field splice. Supply Wabo®FlameGuard or Wabo®ThermoShield Fire Barrier System as governed by joint opening, test requirements and fire rating.

2.03	Fabrication

A.	The Wabo®VIP Expansion Control System shall be fully assembled and preset in the factory prior to shipment. Standard lengths are 10 ft. with ends prepared for field splicing utilizing manufacturer’s standard clips. Miter cut in the field to conform to directional changes unless otherwise contracted with expansion joint manufacturer.

B.	Moisture Barrier shall be shipped in the longest practical continuous length in manufacturer’s standard shipping carton.

C.	Fire Barriers - Ship manufacturer’s standard assembly including fire caulks, sealants (if applicable) and hardware for the required hourly rating. Assemblies shall be miter cut in the field to accommodate changes in direction.

2.04	Finishes

A.	Aluminum extrusions shall be supplied in standard mill finish.

B.	Elastomeric seals shall be supplied in standard color offering: black, beige and gray. Optional custom colors available through manufacturers standard ColorChoice offering.

PART 3 - EXECUTION

3.01	Installation

- Install all Expansion Control Systems utilizing manufacturer’s blockout repair and infill material(s).

B.	Protect prefabricated expansion joint system and its components from damage during installation, placement of concrete and thereafter until completion of structure.

C.	Expansion joint systems shall be installed in strict accordance with the manufacturer's typical details and instructions along with the advice of their qualified representative.

D.	Expansion joint systems shall be set to the proper width for the ambient temperature at the time of installation. This information is indicated in the contract plans.

3.02	Clean and Inspect

A.	Upon completing installation the contractor shall clean all exposed metal and elastomeric surfaces with a suitable cleaner that will not harm or attack the finish.  Inspect for any damage that may have resulted from other work or building trades.