SPECIFICATION

Section 05800

Wabo®SeismicPanel – Professional Series

# Model “SWP”

Seismic Wall and Ceiling Expansion Control System

PART 1  -  GENERAL

1.01	Work Included

A.	The work shall consist of furnishing and installing expansion joints in accordance with the details shown on the plans and the requirements of the specifications.  The joints are proprietary designs utilizing extruded metal and elastomeric profiles, preformed panels and accessory hardware.

B.	Related Work

- Gypsum board

- Miscellaneous and ornamental metals

- Flashing and sheet metal

- Interior finishes

1.02	Submittals

A.	Template Drawings  -  Submit typical seismic joint cross-section(s) indicating pertinent dimensioning, general construction, component connections, and anchorage methods.

1.03	Product Delivery, Storage and Handling

A.	Deliver products in each manufacturer's original, intact, labeled containers and store under cover in a dry location until installed. Store off the ground, protect from weather and construction activities.

1.04	Acceptable Manufacturer

- All joints shall be as designed and manufactured by Watson Bowman Acme Corp., a Degussa affiliate,  95 Pineview Drive, Amherst, New York  14228.

B.	Alternate manufacturers and their products will be considered, provided they meet the design concept and are produced of materials that are equal to or superior to those called for in the base product specification.

C.	Any proposed alternate systems must be submitted and receive approval 21 days prior to the bid.  All post bid submittals will not be considered.  This submission shall be in accordance with MATERIALS AND SUBSTITUTIONS.

- Any manufacturer wishing to submit for prior approval must provide the following:

1.	A working 6” sample of the proposed system with a letter describing how system is considered superior to the specified system.

2.	A project proposal drawing that illustrates the recommended alternate system installed in the wall or ceiling construction that is specific to the project.  Typical catalog cut sections will not be considered.

3.	Verifiable list of prior installations showing prior and successful experience with the proposed systems.

4.	Any substitution products not adhering to all specification requirements within, will not be considered.

1.05	Quality Assurance

A.	Manufacturer:     Shall be ISO-9001:2000 certified and shall provide written confirmation that a formal Quality Management System and Quality Processes have been adopted in the areas of, (but not limited to) engineering, manufacturing, quality control and customer service for all processes, products and their components. Alternate manufacturers will be considered provided they submit written proof that they are ISO 9001:2000 certified prior to project bid date. Manufacturers in the process of obtaining certification will not be considered.

B.    Warranty:       The Professional Series expansion control system’s performance shall be warranted when installed by the manufacturer’s factory trained installer. Installation shall be in strict accordance with manufacturer’s technical specifications, details, installation instructions and general procedures in effect for normal intended usage and suitable applications under specified design movements and loading conditions.

C.    Manufacturer:   Shall have a minimum ten (10) years experience specializing in the

design and manufacture of Architectural Expansion Control Systems.

D.   Application:    The specified expansion control systems shall be installed by a

factory trained installer certified in the proper installation of the expansion control

and fire barrier systems.

PART 2 - PRODUCT

2.01	General

- Provide wall & ceiling Expansion Control System that is capable of accommodating multi-directional seismic movement without stress to its components. Design system to minimize damage and protect adjacent interior surfaces during seismic activity by outward displacement of primary metal panel. Panel shall be installed flush with adjacent surfaces to exhibit a near invisible system installation and secured to wall surface by utilizing manufacturer’s pre-engineered seismic-centering bar and threaded hardware. Provide factory finish on panel to accept traditional interior finishes including wall coverings, paints and architectural laminates. Final system installation shall be accomplished with hidden hardware and fasteners.

Furnish Wabo®SeismicPanel; Model “SWP” Seismic Control System for vertical

wall and ceiling joint locations as manufactured by Watson Bowman Acme Corp.

and as indicated on drawings.

2.02	Components and Materials

- Aluminum Base Extrusion  -  Material to confirm to properties of ASTM B221, Alloy 6063-T5 or 6063-T6. Profile shall incorporate a continuous circular cavity to receive sphered end of seismic-centering bar permitting multidirectional rotational movement.

Minimum attachment flange thickness:   .080 inch

Minimum profile weight:                        .310 lbs/LF

- Aluminum Panel  -  Provide sandwich type construction with outside beveled edges formed to promote outward displacement. Minimum thickness of panel shall be ½ inch with outside skin utilizing aluminum 3104-H14 alloy with alodized finish to promote adhesion of interior finishes. Design panel to provide a threaded attachment to underlying system components. Provide appropriate width(s) to accommodate required seismic movement.

- Seismic-Centering Bar  -  Shall exhibit circular sphered ends that lock and slide inside corresponding aluminum extrusion cavity to allow freedom of movement and flexure in all directions including vertical displacement.  Bar shall be molded or manufactured incorporating corrosion resistant nylon components with sphered ends.  Spacing shall be a maximum of 24” o.c..

During seismic activity design centering bar to permit vertical displacement of aluminum panel during accelerated inward and outward movement without evidence of fatigue and permanent deformation. Concurrently provide secure connection between panel and underlying system components to maintain proper positioning and contact to adjoining surfaces.

Bar shall exhibit the following physical properties to demonstrate ability to resist corrosion and fatigue.

PHYSICAL PROPERTIES

Molded End Profile:

Material	:				Nylon

Color:						Black

Tensile Strength @ break:		ASTM D638   25,500 psi

Cross-Member:

Material:     				Pre-tempered spring steel

Damage Mitigation - Test Requirements:

Seismic-centering bar must exhibit ability to disengage (controlled release) from expansion joint edge member(s) when seismic movement exceeds the specified maximum allowable opening. Submit independent test report demonstrating required design of seismic-centering bar.

Requirements

a) Equipment: 	    	 	- Instron Machine

b) Orientation: 			- Specimen subjected to tensile                                          load with cross member          parallel to direction of load

c) Specimens:        	            	- Test 4(min)– select at random

d) Disengagement range (lbs) :	- 800 (min.) – 1250 (max.)

D.  Edge Member  -  Provide extruded elastomeric profile with integral flange designed and punched to receive 5/8 inch drywall finish and compound. Provide secondary 3 ½ inch flange to receive light weight aluminum panel.  When installed, a separation of 1 ½ inch shall be achieved between the aluminum panel and exposed edge of elastomeric profile

Colors:  Standard: White

Custom    : Black, Gray, Beige

E.	Anchorage :     	–  Secure base extrusion and edge member to adjacent surfaces   utilizing appropriate length drywall screw. (supplied by installer). Spacing shall be 18” o.c. (max.).

F.    Accessories  -  Provide necessary and related parts including assembly hardware

for complete installation.

G.	Fire Barrier Assembly  - Designed to provide the required fire endurance rating, minimize passage of smoke and accommodate dynamic movement without stress or degradation to its components. Test system in maximum joint width incorporating a field splice. Supply Wabo®FlameGuard Fire Barrier (2-way movement) as governed by joint opening and fire rating. Provide Wabo®FireFlex (4-way movement) where movement parallel to joint opening is expected.

2.03	Fabrication

A.	Extruded profiles and aluminum panel shall be supplied in 10ft. lengths.  The contractor shall be responsible for field cutting metal profiles to obtain the proper joint profile.

B.	All anchor holes shall be field drilled in accordance with manufacturer’s drawings. Spacing shall be a maximum of  18” o.c.

C.	Fire Barriers  -  Ship manufacturer’s standard assembly including fire caulks, sealants (if applicable) and hardware for the required hourly rating.  Assemblies shall be miter cut in the field to accommodate changes in direction.

2.04	Finishes

- Aluminum Panel  (Standard)   - Exposed surfaces supplied with alodized finish.

B.	Aluminum Base Extrusion        - Supplied in standard mill finish.

PART 3  -  EXECUTION

3.01	Installation

A.	Protect all expansion joint component parts from damage during installation;  placement of wall materials and thereafter until completion of structure.

B.	Expansion joint systems shall be installed in strict accordance with the manufacturer's typical details and instructions along with the advice of their qualified representative.

C.	Expansion joint systems shall be set to the proper width for the ambient temperature at the time of installation.  This information is indicated in the contract plans.

3.02	Clean and Inspect

- Protect system and its components during construction.  Upon completing installation, the contractor shall clean all exposed surfaces with a suitable cleaner that will not harm or attack the alodized of elastomeric finishes.  Contact manufacturer should questions arise regarding suitability of any cleaner type prior to its use.